Series 1100SDB Sample Specification

A mid span restraint anchor point on existing ductile iron pipe shall consist of the following: The restraint shall be split for ease of installation and manufactured of ductile iron conforming to ASTM A536. The restraint devices shall be coated using MEGA-BOND®. (For complete specifications on MEGA-BOND visit www.ebaa.com). The split restraint ring, incorporating a plurality of individually-actuating gripping surfaces, shall be used to grip the pipe. The device shall have a minimum working pressure rating as shown in the product brochure. The restraint shall be the Series 1100SDB, as manufactured by EBAA Iron, Inc. or approved equal.