Sample Specification for the MEGA-STOP™

Devices for the Prevention of “over-insertion” of AWWA C900 PVC Pipe spigots or plain ends into push-on bell joints shall consist of the following: The bell stop shall be manufactured of ductile iron conforming to ASTM A536. The bell stop shall be coated using MEGA-BOND® (For complete specifications on MEGA-BOND visit www.ebaa.com.) The device shall incorporate a Expansion Retention Spring to allow for pipe expansion and contraction. The combination of the two shall be the Series 5000 MEGA-STOP™ Bell Protection System, as manufactured by EBAA Iron, Inc., or approved equal.