Sample Specification

Meter Covers shall consist of the following: The cover shall be manufactured of ASTM A536 Ductile Iron. If specified with a meter reading access lid (door), the lid shall be manufactured of ASTM A536 Ductile iron. Visual indication denoting either potable or non-potable water. The cover shall meet or exceed the applicable Federal Specification RR-F-621D standards. The cover shall be coated using MEGA-BOND® (for more information regarding MEGA-BOND refer to www.ebaa.com) The cover shall be EBAA-Covers™ as manufactured by EBAA IRON, Inc. or approved equal.