Sample Specification EBAA Seal

To improve the sealing capacity, the

gaskets for all mechanical joints

conforming to the requirements of

ANSI/AWWA C110/A21.10,

C111/A21.11, or C153/A21.53 shall be of

a design that causes the gasket to deflect

approximately 30% during assembly of the

mechanical joint. The gasket material

shall conform to the requirements of

ANSI/AWWA C111/A21.11, section 11-

6.4, of the latest revision. Mechanical joint

gaskets shall be EBAA Iron, Inc.'s EBAA

Seal - Improved Mechanical Joint Gasket

or equal.